## Slide 1: ELISA Enzyme-Linked Immunosorbent Assay.
Dr. Munish Rastogi
Director
SHS, KANPUR

## Slide 2: INTODUCTION
Enzyme-Linked Immunosorbent Assay (ELISA) is a modern molecular technique for the detection of antigen-antibody interaction with the help of an enzyme.
It is one of the sensitive enzyme immunoassay techniques for the detection of the presence of antigen or antibody and quantification as well in the case of clinical diagnosis of many diseases.

## Slide 3
(ELISA) utilizes an enzyme system to show a specific combination of an antigen with its antibody. It is a method of quantifying an antigen immobilized on a solid surface. ELISA uses a specific antibody with a covalently coupled enzyme.
The amount of antibody that binds the antigen is proportional to the amount of antigen present, which is determined by spectrophotometrically measuring the conversion of a clear substance to a colored product by the coupled enzyme. The ELISA technique was first conceptualized and developed by Peter Perlmann and Eva Engvall at Stockholm University, Sweden.
The enzyme system of ELISA consists enzyme which is labeled to a specific antibody or antigen and a chromogenic substrate that is added after the antigen-antibody reaction. The substrate is hydrolyzed by the enzyme attached to antigen-antibody complexes.
An ELISA test uses components of the immune system (such as IgG or IgM antibodies) and chemicals for the detection of immune responses in the body. The ELISA test involves an enzyme (a protein that catalyzes a biochemical reaction).

## Slide 4
Antigens and antibodies react specifically to form the Ag-Ab complex. Antibodies can be linked or attached to enzymes. The enzyme-linked antibodies can modify the specific substrates used to produce a color change within the preparation. The enzyme activity is measured with a colorimeter in a specific wavelength of light to determine the magnitude of the infection in the patient.
Types of ELISA:-
They are of mainly four types:
Direct ELISA
Indirect ELISA
Sandwich ELISA
Competitive ELISA
ELISA Principle

## Slide 5: ELISA Requirements
Coated plates (Microtitre plates): Commonly used ones are 96 well polystyrene plates. Coated with antigens or antibodies at the bottom of the well.
Sample diluents: To dilute the sample before application in some cases of ELISA test.
Wash Buffers: Help to wash away the unrequired contaminants and unbound antigens or antibodies. Eg. Triphosphate buffer (ph 7.40) and detergents such as Tween-20.
Enzyme-linked Antibodies: For this, most common enzymes used are: AP(Alkaline Phosphatase), HRP(Horseradish Peroxidase).
Substrates: Specific chromogenic substrates are used for the respective enzymes used. Commonly used substrates are o-phenylene diamine for HRP enzyme and p-nitrophenyl phosphate for AP enzyme.
Stop solution: It stops the enzyme and substrate reaction. It can be acids such as sulphuric acid.

## Slide 6: 1. Direct ELISA
It is the simplest and quickest of all other types of ELISA. A single enzyme-linked antibody is used which directly interacts with the antigen present in the sample.

## Slide 7: 1. Direct ELISA Procedure
Addition of sample (containing antigen) to the well of the microtitre plate.
Antigen gets adsorbed to the surface of the well.
Washing to remove unbound antigens
The addition of an enzyme-linked antibody that with the antigens if present.
Washing to remove unbound antibodies
Addition of chromogenic substrate
Visualization of color change and result interpretation.

## Slide 8: 2. Indirect ELISA
It is the most popular type of ELISA in use.
Antibody detection is carried out in indirect ELISA. A secondary antibody linked with the enzyme is used.

## Slide 9: Indirect ELISA Procedure
Addition of known antigens specific to the antibody of interest
Careful washing to remove unadsorbed antigens or some adsorbed contaminants.
Addition of serum samples to their respective wells
If there is the presence of specific antibodies, they will bind to the antigens.
Wash again.
Addition of enzyme-linked secondary antibodies to the well
Wash again
Addition of substrate
Visualization of color change and result interpretation

## Slide 10: Sandwich ELISA
Developed in 1977.
Detection of antigens.
Two different antibodies i.e. capture antibodies(for attachment sample antigens) and enzyme-linked secondary antibodies are required.
The antigen of interest first binds with the capture antibodies and then the secondary antibodies bind with the epitope antigen forming a sandwich-like structure with antigen in between antibodies.

## Slide 11: Sandwich ELISA Procedure
Addition of capture antibodies in the microtitre well
Washing
Addition of serum sample(containing antigen) in the well
Washing
Addition of enzyme-linked antibodies in the well
Washing
Addition of substrate
Visualization of color development and result interpretation

## Slide 12: Competitive ELISA
Developed in 1976.
Detection of antibodies.
The basic concept of this type is that there occurs competition of binding between the sample antibodies(if present) and enzyme-linked secondary antibodies to the antigens. If the sample contains specific antibodies of interest, they will bind to the antigens and won’t allow enzyme-linked antibodies to bind with antigens which are then washed away. Hence after the addition of substrate, there won’t be a color change indicating a positive test and vice-versa.

## Slide 13: Competitive ELISA Procedure
Addition of HIV antigens in the microtitre well
Washing
Addition of serum sample
Washing
Addition of enzyme-linked HIV specific antibodies
Washing
Addition of substrate
Visualization of color change and result interpretation

## Slide 14: ELISA Result/Interpretation
Qualitative interpretation i.e. presence or absence of antigen is done by visualizing the color change in the solution.
If the Ag-Ab reaction takes place and bound enzyme linked with antibodies remain in the solution, they will modify the substrate, and color change can be seen.
Quantitative interpretation i.e. concentration of antigen or antibody can be identified by measuring the optical density of the solution with the help of an ELISA reader spectrophotometer.
Then optical density vs concentration curve is prepared for both the standard sample and unknown sample and compared to determine the concentration in the unknown sample.

## Slide 16: ELISA Applications
It is one of the most sensitive and effective methods for the detection of different viral, bacterial, and fungal infections.
Screening test for HIV infection.
Different EISA test kits are available for the detection of dengue fever, TB, and Hepatitis B infections.
Pregnancy test kits based on ELISA are also available.
Qualitative and quantitative estimation of various proteins, hormones, toxins, etc.
Also used in the detection of different food allergens

## Slide 17: Advantages of ELISA
Protocols are simple.
Highly specific and sensitive
Highly efficient
Low-cost reagents
No requirement of any unsafe materials such as radioactive substances as in Radio Immunoassay
Limitations of ELISA
Work-Intensive
Preparation of enzyme-linked antibodies can be difficult and expensive.
Since the antibodies are unstable so for transport and storage proper refrigeration is required