## Slide 1: ECE-S- 204
Electrical Machines
Induction Motor
Atul kumarAgnihotri
Asst.prof/ECE
UIET CSJMU KANPUR,

## Slide 2: Content
Introduction
Why induction motor (IM)?
Classification of Motor
Rotating Magnetic Field
Principle of operation
Induction motor speed
Induction Motors and Transformers
Disadvantages
References

## Slide 3: Introduction
Three-phase induction motors are the most common and frequently encountered machines in industry
  simple design, rugged, low-price, easy maintenance
  wide range of power ratings: fractional horsepower to 10 MW
  run essentially as con•sintadnucttisopnemedotforrom no-load to full load
  Its speed depends on the frequency of the power source
    not easy to have variable speed control
    requires a variable-frequency power-electronic drive for optimal speed control

## Slide 4
••Why induction motor (IM)?
–Robust; No brushes. No contacts on rotor shaft
–High Power/Weight ratio compared to Dc motor
–Lower Cost/Power
–Easy to manufacture
–Almost maintenance-free, except for bearing and other mechanical parts

## Slide 5: Classification of Motor

## Slide 6: Rotating Magnetic Field
Balanced three phase windings, i.e. mechanically displaced 120 degrees form each other, fed by balanced three phase source
A rotating magnetic field with constant magnitude is produced, rotating with a speed
synchronous speed in rpm (revolutions per
minute)
P is the no. of poles and n sync called the
Where fe is then susypnpcly requency and

## Slide 7: Synchronous speed
P | 50 Hz | 60 Hz
2 | 3000 | 3600
4 | 1500 | 1800
6 | 1000 | 1200
8 | 750 | 900
10 | 600 | 720
12 | 500 | 600

## Slide 8: Rotating Magnetic Field

## Slide 9: Rotating Magnetic Field

## Slide 10: Rotating Magnetic Field
2
2
M
M
M
M
3 B
3 B
Bnet (t)  Ba (t)  Bb (t)  Bc (t)
 BM sin(t)0  BM sin(t 120)120  BM sin(t  240)240
 BM sin(t)xˆ
[0.5B sin(t 120)]xˆ [
sin(t 120)]yˆ
[0.5B sin(t  240)]xˆ [
sin(t  240)]yˆ

## Slide 11: Rotating Magnetic Field
4 4
4 4
4
4
4
4
net M
M
M
M
M
M
M
M
M
3 B
3 B
3 B
3 B
B (t)  [B sin(t)  1 B sin(t) 
cos(t)  1 B sin(t) 
[
sin(t)  3 B cos(t) 
cos(t)]xˆ
sin(t)  3 B cos(t)]yˆ
 [1.5BM sin(t)]xˆ [1.5BM cos(t)]yˆ

## Slide 12: Rotating Magnetic Field

## Slide 13: Principle of operation
This rotating magnetic field cuts the rotor windings and produces an induced voltage in the rotor windings
Due to the fact that the rotor windings are short circuited, for both squirrel cage and wound-rotor, and induced current flows in the rotor windings
The rotor current produces another magnetic field
A torque is produced as a result of the interaction of those two magnetic fields
Where ind is the induced torque and BR and BS are the magnetic flux densities of the rotor and the stator respectively
ind
 kBR  Bs

## Slide 14: Induction motor speed
At what speed will the IM run?
  Can the IM run at the synchronous speed, why?
  If rotor runs at the synchronous speed, which is the same speed of the rotating magnetic field, then the rotor will appear stationary to the rotating magnetic field and the rotating magnetic field will not cut the rotor. So, no induced current will flow in the rotor and no rotor magnetic flux will be produced so no torque is generated and the rotor speed will fall below the synchronous speed
  When the speed falls, the rotating magnetic field will cut the rotor windings and a torque is produced

## Slide 15: Induction motor speed
So, the IM will always run at a speed lower than the synchronous speed
The difference between the motor speed and the synchronous speed is called the Slip
Where nslip= slip speed
nsync= speed of the magnetic field
nm = mechanical shaft speed of the motor
nslip  nsync  nm

## Slide 16: The Slip
Notice that : if the rotor runs at synchronous speed
s = 0
if the rotor is stationary
s = 1
Slip may be expressed as a percentage by multiplying the above
eq. by 100, notice that the slip is a ratio and doesn’t have units
s  nsync  nm
nsync
Where s is the slip

## Slide 17: Induction Motors and Transformers
Both IM and transformer works on the principle of induced voltage
  Transformer: voltage applied to the primary windings produce an induced voltage in the secondary windings
  Induction motor: voltage applied to the stator windings produce an induced voltage in the rotor windings
  The difference is that, in the case of the induction motor, the secondary windings can move
  Due to the rotation of the rotor (the secondary winding of the IM), the induced voltage in it does not have the same frequency of the stator (the primary) voltage

## Slide 18: Disadvantages
–Essentially a “fixed-speed” machine
–Speed is determined by the supply frequency
–To vary its speed need a variable frequency supply

## Slide 19: Thanks