## Slide 1: NABL ACCREDITATION
Dr Versha Prasad

## Slide 2: National Accreditaion Board For Testing and Calibration ( NABL)
It is an autonomous body
Registered under Societies Act 1992
Under the aegis of Department of Science Technology, Government of India.

## Slide 3: NABL
Grants accreditation in almost all areas of science, engineering and medical testing.
The international standards are fallowed are-
ISO 1518920007 (for Medical Testing)
ISO/IEC 170252005 (for Testing, calibration)
ISO 170432010 ( for PT providers)

## Slide 4: The International Senario
NABL INDIA
NABL, as an accreditation body, operates its own system as per ISO/IEC 17011.
NABL is signatory to APLAC/ILAC Mutaal Recognition Arrangements (MRA)since 2000 after its firs evolutionby APC. Second Third evolution by APLAC in 2004,2008 respectively. Fourth evolution completed in 2012.

## Slide 5: Scope of NABL Accreditation
Testing Laboratories
Biological
Chemical
Electrical
Electronics
Mechanical
Non d-Destructive Testing
Optical and Photometry
Calibration Laboratories
Electro-Technical
Mechanical
Radiological
Thermal
Fluid Flow
Foresic

## Slide 6: Scope of NABL Accreditation
Medical Laboratories
Clinical Biochemistry
Clinical Pathology
Genetics
Cytopathology
Hematology, Immuno- Hematology
Histopathology
Microbiology, Serology
Nuclear Medicine ( only in vitro tests)

## Slide 7: Medical Laboratory Accreditation
A very new concept.
Given by ISO ( International Organization of Standardization).
Compliance to ISO 15189 and getting it verified by third party.
Certificate of recognition by NABL [provide
True or reliable results( Accurate Results)
Reproductive results ( Precise results)
Timely Release of results(TAT)
Medical Laboratories- Particular requirements for quality and competence.
Prepared by Technical Committee ISO/TC 212 (medical Laboratory Professional).
Being used in most of the developed countries.

## Slide 8: Certificate vs. Accreditation
Example ISO 90012005.
Certification does not make any statement about the technical competence of the laboratory.
Accreditation- Example ISO 15189. Uses criteria specifically developed to determine technical competence of the laboratory.
In Sept. 2009 , a joint IAF-ILAC-ISO was issued. It stated that a medical Laboratory's fulfillment of the requirements of ISO 151892007means the laboratory meets both the technical competence as well as management system requirements that are necessary for it to deliver technically valid test results.

## Slide 9: Benefits of 15189 Accreditation
Stake holders-patients, Insurance Companies, referring clinicians.
Laboratories
Other Benefits- like
Accreditation benefits all stake holders.

## Slide 10: Benefits to the customers.
Customers can search and identify laboratories accredited by NABL for their specific requirements from the NABL website or Directory of accredited Laboratories.
Increased confidence in reports. The lab are required to participate in proficiency testing. Which is again demonstration of competence. So , there is increased confidence in the reports released by the laboratory.
The customer get service by credential staff.
Saving in terms of time and money as it reduces or eliminates the need of re-testing.

## Slide 11: Benefits for the Laboratory
Use of NABL symbol The accredited laboratories can issue test repoerts bearing the accreditation body symbol or endorsement ,as an indication of accreditation.
International Recognition Lab accreditation is highly regarded both nationally and Internationally as an indicator of technical competence.
Satisfaction of the staff in an accredited laboratory is satisfied as it provide for continuous teaching , good working environment,leadership.

## Slide 12: Benefits for the Laboratory
4.Continous improvement .It enables the laboratory in demonstrating commitment to quality test reports.
5. Systematic control of lab work Better control of laboratory operations and feedback to laboratories
6. Benchmark with best laboratories it also provides opportunity to the laboratory to benchmark with the best.
7. Rise in Business – There is marked increase in the business of the laboratory as the accredited status can be seen by the clients on NABL website.

## Slide 13: Other Benefits
It raise community confidence in the services provided by the laboratory.
It encourages medical tourism.

## Slide 14: Accreditation Process
It involves no. of steps
Application for Accreditation
Acknowledgement Scrutiny of application
Adequacy of Quality Manual
Pre and Final Assessment of Laboratory
Recommendation of accreditation
Approval and issue of Accreditation Certificate.

## Slide 15: Surveillance Re Assessment
The accreditation is valid for the period of 2 years.
NABL conducts an annual surveillance of the accredited laboratories
The laboratory must apply for renewal of accreditation at least 6 months before the expiry of accreditation.
A Re- assessment is similar to the final Assesment and is conducted before the expiray of Accreditation

## Slide 16
Thanks